## SG6100
Customer | Site. Site entrance at back of old hospital passed old Laundry see photo | [6 empty] | Contact.
Connolly & Fee Ltd | Cardiac Investigation Unit Level 1 Old Ward Block Ulster Hospital Dundonald BT16 1RH | [6 empty] | Site Manager Evans Montgomery |  |  | Tel: ext . Mob 07718 658681
Track Type | Spec | Location | Quantity | Width | Draw | Control side | Brackets | Fixing | Floor to timber grounds which may need to be installed | Floor to steel beams | Floor to false ceiling | Floor to bottom of track profile | Floor to top track profile | Man Power | Fitting | Special Instructions
Level 1
Old Ward Block
Cardiac Investigation Unit
SG 6100 White + SG6650 preformed & straight notched for disposable curtains | See Plan A | Echo 1 | 1 | 4605 TW | [5 empty] | 3435 | ? | 2100 |  | 2 Men | 1.25 hours
SG 6100 White + SG6650 preformed & straight notched for disposable curtains | See Plan B | Pacing 1 | 1 | 3955 TW | [5 empty] | 3435 | ? | 2100 |  | 2 Men | 1.25 hours
Parking and access 0.75 hr per visit
Fitting Instructions
Hangers to be fitted to steel beams
Take M4 & M6 plasterboard fixing screws
See Plan A & B for parts and layout
L2 & L3 steps
Take SG6650 test and repair kit
Date
Key
A
B
C
D
E
F
G
H
I
J
F3A | [6 empty] | free type | [7 empty] | NOFITTING | Free type
IMS89