## Sheet1
D,F,G
NHS L/SHIRE; TRAUMA WARD
Fitments
£ p
WORKING WITHIN AN OPERATIONAL HOSPITAL
BUILDING (Refer also to Bill No. 1 - Preliminaries and
General Conditions)
This work is to be carried out within an existing operational
Hospital Building. The Contractor must therefore include for
carrying out all work in a manner which does not disrupt the
normal operation of the Building. Detailed provisions are set
out in Bill No. 1 and will be deemed to be followed and
allowed in the pricing of this document
The Contractor must take cognisance of the fact that this is
an operational hospital building and ensure that all
emergency exit routes must remain operational at all times. It
is therefore imperative that the contractor does not block or
hinder in any way the emergency escape routes
QUIET TIMES
Notwithstanding the above, in addition it will be necessary to
arrange the works to allow for Quiet Times during the day.
This is likely to result in detailed organisation and
pre-planning
NOISE AND VIBRATION
The nature of the structure is such that noise and vibrations
from operations such as drilling and the like will be
transmitted and the Contractor is therefore required to allow
for carrying out any such works noisy, nuisance or works at
pre-arranged suitable times during normal working hours
If the Contractor is requested to cease operations because of
causing excessive noise / vibration / nuisance must
immediately stop work and resume the operations at another
suitable time and in compliance with the programme
HAI-SCRIBE
This work requires to be carried out under pressure
controlled areas. (Refer Bill No. 3 Compliance with
HAI-SCRIBE)
[5 empty] | To Collection £ | 0
G1951B Page 19 / 1 © Storrier & Donaldson 2020
NHS L/SHIRE; TRAUMA WARD
Fitments
£ p
32 FURNITURE, FITTINGS AND EQUIPMENT
Bespoke Nurses station; Contractors choice; comprising
30mm and 40mm thick MDF (as shown) with veneer facing
to all sides and preformed decorative edges; counter top to
be formed from layer of 40mm veneered MDF; All exposed
surfaces and internal unexposed surfaces must be sealed
with clear lacquer vinyl and dressed up kickboard; complete
with all necessary support framing, wall battens, mounting,
joints, brackets, etc as required; colour to be selected from
the standard range; include for all worktops, fronts, sides,
backs, blank panels, plinths, below worktop cupboards,
drawer units and the like complete with all supports, wall
fixings, screws brackets, fittings, accessories and the like
etc; all in accordance with Architect's drawing
Nurses Station TW0.34 as drawing AC(0)025
3200100 | A | irregular shaped; overall 3600 long x 1050 wide at one
end and 855 wide at narrow end x 740 high at one end
and 1100 high at narrow end; complete with all
|  | accessories, upstand and supports | 1 | no |  | 0 | 5940359100 019
Nurses Station TW0.09 as drawing AC(0)021
3200102 | B | irregular shaped; overall 3600 long x 1050 wide at one
end and 855 wide at narrow end x 740 high at one end
and 1100 high at narrow end; complete with all
accessories, upstand and supports; include for building
|  | counter around existing column and finishing to match | 1 | no |  | 0 | 5940362800 019
[5 empty] | To Collection £ | 0
G1951B Page 19 / 2 © Storrier & Donaldson 2020
NHS L/SHIRE; TRAUMA WARD
Fitments
£ p
Supply and install worktops; as manufactured by Deanestor
Type PD 55 or equal and approved, moisture resistant
particle board, faced with post formed grade laminate
worktop complete with 55mm dia bullnose front edge and
50mm high coved rear post formed upstand, to SHTM63;
worktop to be completely encapsulate particle board core;
complete with all necessary 50 x 50 softwood battens and
subframe fixed to wall at maximum 600mm centres; include
for all necessary cutting and forming around protrusion/
boxings etc complete with lipping to edges, matching trim,
sealant, brackets, fixings, fittings, framing and accessories;
all in accordance with the Architects drawings AL(0)320 Rev
0 and specification clause N10/151
Worktop; bullnosed front edge complete with 50mm moulded
rear upstand; installed and supported on existing base units
3200114 | A | approximately 650mm wide | 24 | m |  | 0 | 5940365500 019
3200116 | B | Extra over for forming opening for sink and drainer | 3 | no |  | 0 | 5940368700 019
3200118 | C | Extra over for 90 degrees mitred corner | 1 | no |  | 0 | 5940373000 019
3200119 | D | Extra over for cutting out and forming around wall,
|  | approximately 290 x 290 | 1 | no |  | 0 | 5940376700 019
320011B | E | Extra over for Cantilever legs; all in accordance with
|  | specification clause N10/152 | 8 | no |  | 0 | 5940380500 019
3200120 | F | approximately 750mm wide | 7 | no |  | 0 | 5940384100 019
3200125 | G | Extra over for Cantilever legs; all in accordance with
|  | specification clause N10/152 | 11 | no |  | 0 | 5940387900 019
[5 empty] | To Collection £ | 0
G1951B Page 19 / 3 © Storrier & Donaldson 2020
NHS L/SHIRE; TRAUMA WARD
Fitments
£ p
Supply and install wall and base units, all to comply with
SHTM63; as manufactured by Deanstor or equal and
approved; comprising 18mm thick melamine faced MDF
carcase will all edges lipped and 12mm thick melamine faced
MDF backing panels, backing panels to be detachable for
based units only; include for 19mm thick post formed
laminate MDF doors with white balancer inside; complete
with all necessary support framing, wall battens, mounting,
joints, brackets, etc as required; colour to be selected from
the standard range; include for all fronts, sides, backs, blank
panels, plinths, closers, below worktop cupboards, drawer
units and the like complete with all supports, wall fixings,
screws brackets, fittings, accessories and the like etc; all in
accordance with Architect's drawing AL(0)320 Rev0 and
specification clause N10/155
Base units; include for all necessary wall supports, brackets,
shelved, kickplates, etc; lockable
3200130 | A | single base unit; approximately 300 wide x 750 high x
|  | 600 deep; comprising 1 no door | 1 | no |  | 0 | 5940391100 019
3200131 | B | single base unit; approximately 400 wide x 750 high x
|  | 600 deep; comprising 1 no door | 1 | no |  | 0 | 5940394300 019
3200132 | C | single base unit; approximately 500 wide x 750 high x
|  | 600 deep; comprising 1 no door | 9 | no |  | 0 | 5940398000 019
3200133 | D | double base unit; approximately 1000 wide x 900 high x
|  | 600 deep; comprising 2 no doors 500mm wide each | 1 | no |  | 0 | 5940401100 019
3200134 | E | double sink base unit; approximately 1200 wide x 850
high x 600 deep; comprising 2 no doors 600mm wide
|  | each | 3 | no |  | 0 | 5940404200 019
3200136 | F | infill panel approximately 50 wide x 750 high | 3 | no |  | 0 | 5940407300 019
3200137 | G | infill panel approximately 500 wide x 750 high | 1 | no |  | 0 | 5940410300 019
3200138 | H | full end gable panel approximately 600 wide x 750 high | 5 | no |  | 0 | 5940413500 019
[5 empty] | To Collection £ | 0
G1951B Page 19 / 4 © Storrier & Donaldson 2020
NHS L/SHIRE; TRAUMA WARD
Fitments
£ p
Wall units; include for all necessary wall supports, brackets,
shelved, pelmets, etc; lockable
320013F | A | single wall unit; approximately 500 wide x 600 high x
|  | 300 deep; comprising 1 no door | 15 | no |  | 0 | 5940416700 019
320013J | B | full heigh gable panel approximately 300 wide x 1200
|  | high | 4 | no |  | 0 | 5940419900 019
3201110 | C | laminated bulkhead over cupboard panel, approximately
|  | 4000 wide x 600 high | 1 | no |  | 0 | 5940423100 019
3201112 | D | laminated bulkhead over cupboard panel, approximately
|  | 1500 wide x 1200 high | 1 | no |  | 0 | 5940426500 019
3201114 | E | laminated bulkhead over cupboard panel, approximately
|  | 3000 wide x 1200 high | 1 | no |  | 0 | 5940430000 019
3201116 | F | laminated bulkhead over cupboard panel, approximately
|  | 4400 wide x 1200 high | 1 | no |  | 0 | 5940433200 019
Supply and install wall and base units, all to comply with
SHTM71; as manufactured by Bristol Maid or equal and
approved; complete with all necessary support framing, wall
battens, mounting, joints, brackets, etc as required; colour to
be selected from the standard range; include for all fronts,
sides, backs, blank panels, plinths, closers, below worktop
cupboards, drawer units and the like complete with all
supports, wall fixings, screws brackets, fittings, accessories
and the like etc; all in accordance with Architect's drawing
AC(0)022 and specification clause N10/156 and 157
Wall cupboard; Reference SC 020; lockable
320013M | G | Type BM1; reference PC1039/FS/LX; approximately
|  | 1000 wide x 300 deep x 900 high; lockable | 1 | no |  | 0 | 5940436500 019
320013Q | H | Type BM2; reference PC639/FS; approximately 600
wide x 300 deep x 900 high; lockable; complete with
light transformer and internal CDC CD010 335 wide x
|  | 270 deep x 300 high | 1 | no |  | 0 | 5940439600 019
[5 empty] | To Collection £ | 0
G1951B Page 19 / 5 © Storrier & Donaldson 2020
NHS L/SHIRE; TRAUMA WARD
Fitments
£ p
Wall cupboard; Reference SC 020; lockable
320013S | A | Type BM3; reference PC639/FS/LH; approximately 600
wide x 300 deep x 900 high; lockable; complete with
light transformer and internal CDC CD010 335 wide x
|  | 270 deep x 300 high | 1 | no |  | 0 | 5940442800 019
320013U | B | Type BM4; reference PC639/FS/LH/XL; approximately
|  | 600 wide x 300 deep x 900 high; lockable | 1 | no |  | 0 | 5940446000 019
Supply and install wall and base units, all to comply with
SHTM71; as manufactured by Deanstor or equal and
approved; comprising 18mm thick high pressure laminate
MDF carcase will all edges lipped and 12mm thick high
pressure laminate MDF panels; include for 18mm thick high
pressure laminate MDF doors; complete with all necessary
support framing, wall battens, mounting, joints, brackets, etc
as required; colour to be selected from the standard range;
include for all fronts, sides, backs, blank panels, plinths,
closers, below worktop cupboards, drawer units and the like
complete with all supports, wall fixings, screws brackets,
fittings, accessories and the like etc; all in accordance with
Architect's drawings and specification clause N10/160
Base units; include for all necessary wall supports, brackets,
shelved, kickplates, etc; lockable
3200140 | C | single base unit with basket liners; approximately 655
|  | wide x 900 high x 476 deep; comprising 1 no door | 1 | no |  | 0 | 5940449200 019
3200141 | D | tall base unit with basket liners; approximately 455 wide
|  | x 2100 high x 676 deep; comprising 1 no door | 1 | no |  | 0 | 5940451900 019
3200144 | E | full end gable panel approximately 676 wide x 2100 high | 1 | no |  | 0 | 5940455600 019
[5 empty] | To Collection £ | 0
G1951B Page 19 / 6 © Storrier & Donaldson 2020
NHS L/SHIRE; TRAUMA WARD
Fitments
£ p
Supply and install spur shelving; contractors choice of
Manufacturer; proposals to be submitted for approval;
complete with all vertical wall brackets fixed at approved
centres and adjustable shelving to suit clients requirements;
complete with all brackets, fitments, fittings, supports and
accessories; to be installed in strict accordance with the
manufacturers printed instructions; all in accordance with
specification clause N10/170
Spur Shelving; wall mounted
3200167 | A | approximately 300mm wide; comprising 4 no tiers | 7 | m |  | 0 | 5940458900 019
Supply, fit and install Medi rail system; as manufactured by
Therapy Equipment, Tel: 01707-652-622; Product reference
Universal Medical Rail System; Rail part number 2120-02,
complete with end caps and fixings; facing strips comprising
2120-03 blue facing strip infill; all in accordance with
specification clause N10/175
To bed heads
3200175 | B | approximately 1400 long | 27 | no |  | 0 | 5940462600 019
Supply and install coat hooks; as manufactured by Laidlaw;
wall mounted; Product reference: 81.AL8.03, SS7 finish;
include for fittings and accessories; to be installed in strict
accordance with the manufacturers printed instructions; all
in accordance with specification clause N10/195
Coat hooks
3200160 | C | generally; wall mounted | 34 | no |  | 0 | 5940465700 019
[5 empty] | To Collection £ | 0
G1951B Page 19 / 7 © Storrier & Donaldson 2020
NHS L/SHIRE; TRAUMA WARD
Fitments
£ p
Supply and install curtain track system; as manufactured by
Silent Gliss; 6101 anodised aluminium room divider system
or equal and approved, with Silent Gliss 6650 Anti Ligature
hangers; include for Nylon glider hooks, reference 6147,
fitted to track and dust cover reference 6110 PVC Allow for
all system components, complete with suspension rods,
hangers, wall brackets, runners, bends noggings, and all
components as required by the manufacturer; lateral supports
to be integrated with the suspension system; installed in strict
accordance with the manufacturers printed instructions; all in
accordance with Specification Clause N10/230
Curtain Track; complete with nylon glider hooks at 10no per
metre
320016A | A | to beds; maximum floor to ceiling height 2.70m; all in
|  | accordance with drawings | 125 | m | 88.3 | 11037.5 | 5940469500 019
320016C | B | Extra over for wall abutments; include for all wall
brackets, supports, etc; wall brackets reference
|  | 6503, approximately 75 x 150mm | 38 | no | 42.5 | 1615 | 5940473200 019
320016D | C | Extra over for 90 degree bend | 27 | no | 20 | 540 | 5940476900 019
320016F | D | Extra over for 45 degree bend | 4 | no | 20 | 80 | 5940480700 019
320016G | E | Extra over for intersections | 10 | no | 22.5 | 225 | 5940484400 019
[5 empty] | To Collection £ | 13497.5
G1951B Page 19 / 8 © Storrier & Donaldson 2020
NHS L/SHIRE; TRAUMA WARD
Fitments
£ p
Supply and install roller blind as manufactured by Silent
Gliss or equal and approved; SC series roller system or equal
and approved; monocontrol chain and rotation elements to
suit 89mm louvre width with single draw and stack for
widths up to 1200m, and split draw over 1200mm wide;
fabric to be chosen from Silent Gliss price group 3, fabric to
be treated with approved fire retarding system;; Manual
operations; colour to be confirmed; Include wall fixings,
brackets, supports, chain, fittings, clamps, end covers and
accessories etc; to be installed in strict accordance with the
manufacturers printed instructions; all in accordance with
specification clause N10/240
Roller blinds; generally
3200170 | A | to suit window approximately 1010mm wide x 1800mm
|  | blind drop | 26 | no | 184.74 | 4803.24 | 5940488200 019
Mirrors; to be free from tarnishing, discolouration, scratches
and other defects visible in the designed viewing conditions;
reflection to be undistorted; Polypropylene safety film
backing and fixed using screws, inset from corner 50 x 40;
edges to be square profiled and ground; secure backing
appropriate to mirror size and weight; to be installed in strict
accordance with the manufacturers printed instructions; all
in accordance with the specification
Wall mounted
3200180 | B | approximately 1220 mm high x 600mm wide; as per
|  | specification clause N10/270 | 17 | no |  | 0 | 5940491900 019
[5 empty] | To Collection £ | 4803.24
G1951B Page 19 / 9 © Storrier & Donaldson 2020
NHS L/SHIRE; TRAUMA WARD
Fitments
£ p
Supply and install wall protection; as manufactured by
Construction Specialists (UK) Ltd; fixed in strict accordance
with the manufacturers printed instructions; complete with all
fixings, fittings, brackets, adhesive, supports, accessories and
the like; all in accordance with Architect's drawing AL(0)217
Crashrail to waiting area; C/S Acrovyn, SCR-50; to BS EN
8300:2001; Acrylic vinyl on aluminium retainers; selected
from the standard colour range; complete with rapid fix
mounting brackets and shock absorbing bumper cushions; all
in accordance with specification clause P20/200
3201030 | A | approximately 140mm deep x 38mm wide | 10 | m |  | 0 | 5940495600 019
3201032 | B | Extra over for end caps, as recommended by the
|  | manufacturer | 2 | no |  | 0 | 5940498800 019
3201034 | C | Extra over for internal corners, as recommended by
|  | the manufacturer | 3 | no |  | 0 | 5940502500 019
Crashrail/ Handrail; C/S Acrovyn, HRB4C; to BS EN
8300:2001; Acrylic vinyl on aluminium retainers; selected
from the standard colour range; all in accordance with
specification clause P20/201
3201040 | D | approximately 140mm deep x 38mm wide | 143 | m |  | 0 | 5940506500 019
3201042 | E | Extra over for end caps, as recommended by the
|  | manufacturer | 51 | no |  | 0 | 5940510000 019
Low level crashrail; C/S Acrovyn, BG-10; to BS EN
8300:2001; Acrylic vinyl on aluminium retainers; Charcoal
finish; fixed with shock absorbing c/s Acrovyn cover flexed
upon impact, fixed at maximum 400mm centres; all in
accordance with specification clause P20/204
320104A | F | approximately 101.6mm deep x 61.9mm wide; bullnose
|  | profile | 143 | m |  | 0 | 5940513700 019
320104C | G | Extra over for end caps, as recommended by the
|  | manufacturer | 51 | no |  | 0 | 5940517000 019
[5 empty] | To Collection £ | 0
G1951B Page 19 / 10 © Storrier & Donaldson 2020
NHS L/SHIRE; TRAUMA WARD
Fitments
£ p
Corner guards; C/S Acrovyn, SM 20 Corner Guards
complete with top and bottom caps; to BS EN 8300:2001;
Acrylic vinyl with aluminium retainers top and bottom;
complete with shock absorbing c/s Acrovyn cover flexes
upon impact and staggered fixings at maximum 400mm
centres; selected from the standard colour range; all in
accordance with specification clause P20/205
3201050 | A | approximately 1200mm high; approximately 76mm x
|  | 76mm x 1200 long (Approximate) | 44 | no |  | 0 | 5940520700 019
Wall protection sheet; C/S Acrovyn Hydroclad smooth sheet;
2mm thick; to BS 2782 - B1999 and BE EN 846:1997;
substrate to be free from all dirt, dust, debris and foreign
matter; seal plasterboard substrate with thinned adhesive
solution; comprising Fastbond 10 adhesive by C/S Acrovyn
with C/S Acrovyn mastic to joints; Colour: Snow White;
allow for silicone sealant to all exposed edges; allow for all
necessary forming of opening to provide a complete
installation; all in accordance with all in accordance with
specification clause P20/206
320105A | B | over 600mm wide; approximately 1500mm high | 158 | m2 |  | 0 | 5940524500 019
320105C | C | Extra over for perimeter detail; complete with
perimeter trims, cappings, sealant, fixings and the
|  | like, etc | 202 | m |  | 0 | 5940527700 019
Take delivery and install the following; (supplied by Client);
include for all brackets, fixings, fittings, supports,
accessories, etc
Wall mounted
3200A10 | D | alcohol gel dispenser | 56 | no |  | 0 | 5940531300 019
3200A12 | E | hand cream dispenser | 2 | no |  | 0 | 5940535100 019
3200A14 | F | soap dispenser | 33 | no |  | 0 | 5940538800 019
3200A15 | G | toilet roll holder | 17 | no |  | 0 | 5940541500 019
3200A16 | H | paper towel dispenser | 33 | no |  | 0 | 5940545200 019
[5 empty] | To Collection £ | 0
G1951B Page 19 / 11 © Storrier & Donaldson 2020
NHS L/SHIRE; TRAUMA WARD
Fitments
£ p
Wall mounted
3200A17 | A | paper roll dispenser | 7 | no |  | 0 | 5940549000 019
3200A1A | B | clock | 28 | no |  | 0 | 5940552200 019
3200A1E | C | 1200 x 900 whiteboard | 28 | no |  | 0 | 5940559100 019
3200A1F | D | 600 x 900 whiteboard | 44 | no |  | 0 | 5940564900 019
3200A1G | E | bed pan rack | 2 | no |  | 0 | 5940569200 019
3200A1I | F | sick bowl rack | 2 | no |  | 0 | 5940572400 019
3200A1K | G | suction bracket | 27 | no |  | 0 | 5940576700 019
3200A1M | H | tv bracket | 14 | no |  | 0 | 5940580400 019
3200A1P | J | wall monitor bracket | 27 | no |  | 0 | 5940583600 019
3200A18 | K | glove and apron dispenser | 22 | no |  | 0 | 5940586800 019
Door signage; as manufactured by Signcraft or equal and
approved; Product Aluminium plate standard NHS signage;
to HTM; be determined by client; fixed using countersunk
screw/ adhesive fixed as advised by manufacturer; all in
accordance with the specification
Door mounted
3200A4T | L | NHS Lanarkshire Room Number Signage (Provisional) | 56 | no |  | 0 | 5940590000 019
Fire signage system; submit manufacturer proposals; to be in
English; to BS 5499; fixed to wall; self adhesive; secure,
plumb and level; fasteners to be sufficient to support live and
dead loads; corrosion resistant material; isolate dissimilar
metals to avoid electrolytic corrosion; must not detract from
the message being displayed (Provisional)
Wall mounted
3200A52 | M | 450 x 150mm Plastic semi-rigid 1 mm fire exit sign; with
|  | running man facing right/ arrow down | 20 | no |  | 0 | 5940593800 019
[5 empty] | To Collection £ | 0
G1951B Page 19 / 12 © Storrier & Donaldson 2020
NHS L/SHIRE; TRAUMA WARD
Fitments
£ p
Collection
|  | Amount of Page 19 / 1 |  |  |  | 0
|  | Amount of Page 19 / 2 |  |  |  | 0
|  | Amount of Page 19 / 3 |  |  |  | 0
|  | Amount of Page 19 / 4 |  |  |  | 0
|  | Amount of Page 19 / 5 |  |  |  | 0
|  | Amount of Page 19 / 6 |  |  |  | 0
|  | Amount of Page 19 / 7 |  |  |  | 0
|  | Amount of Page 19 / 8 |  |  |  | 13497.5
|  | Amount of Page 19 / 9 |  |  |  | 4803.24
|  | Amount of Page 19 / 10 |  |  |  | 0
|  | Amount of Page 19 / 11 |  |  |  | 0
|  | Amount of Page 19 / 12 |  |  |  | 0
[5 empty] | To Summary £ | 18300.74
G1951B Page 19 / 13 © Storrier & Donaldson 2020