## Main Summary
MAIN SUMMARY
G19224 - PROPOSED KITCHEN INSTALLATION,
WALLACETOWN EARLY YEARS CENTRE
Amount of Section Nr. 1 - Conditions of Contract
Amount of Section Nr. 2 - Preliminaries |  | 0
Amount of Section Nr. 3 - Description of Works |  | 20430
Amount of Section Nr. 10 - Tender Addendums (If Issued):
20430
Allow Provisional Sum for Contingencies to be used as directed by the Contract Administrator and deducted in whole or in part if not ordered to be used |  | 7000
| AMOUNT TO BE CARRIED TO FORM OF TENDER | 27430
Signature as Relative to Tender Dated
Signature of Tenderer
Name and Address of Contractor

## Section 3 - BQ
Preliminaries
A PRELIMINARIES
GENERALLY
Refer attached separate NBS preliminaries
Name, nature and location
A | total preliminary amount for Sections A10-A55 abstracted from
| NBS preliminaries | 1 | Item |  | 0
|  |  |  | To SUMMARY | 0
Minor Demolition and Alteration Works
C EXISTING SITE / BUILDINGS / SERVICES
C20 DEMOLITION
Various locations on site; as Drawings AL(--)Ex01 & 02
Demolishing parts of structures; making good structures; extending and making good finishes
A | 130 thick masonry wall, plaster finish; flush to floor, wall and ceiling
structure all round; temporary shoring etc as required; make good
structure and extend and make good finishes all round where wall
| removed; dividing wall, existing Rooms R034/035; complete | 1 | Item |  | 0
B | 130 thick masonry wall, plaster finish; flush to floor, wall and ceiling
structure all round; temporary shoring etc as required; make good
structure and extend and make good finishes all round where wall
| removed; dividing wall with opening, existing Rooms R035/036; complete | 1 | Item |  | 0
Various locations on site; as Drawings AL(--)001, AY/7968/01 & 03
Cutting openings or recesses; making good structures; extending and making good finishes
C | form opening in existing 750 thick overall stone/brick internal structural
wall, plastered both sides; take down to below existing finished floor
level; cut back existing wall an additional approx 300 mm each side;
tie-in to existing wall and form jambs of new opening in engineering
brick; form opening at head to suit and build in 3nr Robeslee Type 'C'
Lintols, 150mm minimum bearing each side; making good structure; all
temporary works and propping as detailed; making good structure and
finishes all round the match flush with existing; finished structural
opening approx 1200 x 2100mm; Corridor R039 to Staff Change;
| complete | 1 | Item |  | 0
R036 New Kitchen; as Drawing AL(--)001
Removing Coverings; including making good structures
D | carefully remove existing floor covering (vinyl removal elsewhere);
prepare and set aside for re-fixing; 9mm plywood on 22mm t&g softwood
boards; to extent as required to provide access to solum for installation
of the above ground drainage within the new kitchen area; re-fit
| flooring removed on completion of drainage; approx 42m2 | 1 | Item |  | 0
New Flooring; Provisional
E | Supply and lay new 22mm f&g softwood floor on existing joists; 42m2 | 1 | Item |  | 0
F | Supply and lay new 9mm plywood floor to softwood flooring; 42m2 | 1 | Item |  | 0
|  |  |  | To Collection | 0
R036 New Kitchen; as Drawing AL(--)EX01, AL(--)005
Cutting back projections; including making good structures
A | window cills; to flush with existing external wall; in 3 lengths, approx 8m | 1 | Item |  | 0
Existing Room R034; Drawing AL(--)005
Removing finishings; including making good structures
B | carefully remove wall panelling and dado rail; retain framing and repair
as required; prepare framing; supply and fit new panelling to match
| existing; approx 6m2 | 1 | Item |  | 0
C | extra over removing wall panelling; removal of Asbestos Containing
Materials; Chrysotile cement panel, fixed to face of timber panelling;
all testing of materials and air testing on completion of removal; SAC
Asbestos Demolition Report SAC 410872, 23 January 2019; approx.
| 1.50m2;disposal of waste arising | 1 | Item |  | 0
Various locations on site; Drawings AL(--)Ex01, 004 & 006
Removing finishings; including making good structures
D | sheet vinyl or similar to floors; including thresholds; clean existing
| substrate and prepare to receive new finishes; complete; approx 100m2 | 1 | Item |  | 0
E | suspended ceiling system; hanging wires, frame, tiles, edge trim include
repairing adjacent structure & finishes patching; existing rooms R034 &
| 035; complete; approx 70m2 | 1 | Item |  | 0
Removing fittings and fixtures; carefully take down, set aside/store in safe
location; refix
F | carefully take down remove to safe storage for duration of the contract;
| school plaque; | 1 | Item |  | 0
G | take from storage and fix in location to be determined; school plaque | 1 | Item |  | 0
Removing fittings and fixtures; disposal off site
H | existing school whiteboard and projector | 1 | Item |  | 0
Various locations on site; as Drawing AL(--)EX01, AL(--)005
Removing fittings and fixtures; including making good structures
J | blinds; Rooms R034, 035, 036; complete | 1 | Item | 480 | 480
K | paper towel dispensers, soap dispensers and the like; Rooms R034, 035,
| 036; complete | 1 | Item |  | 0
L | extra over; reinstatement on completion | 1 | Item |  | 0
|  |  |  | To Collection | 480
Removing plumbing and engineering installations; making good existing
structures; drawing AL(1--)Ex01
A | sinks and base unit complete; including isolating existing supply/waste;
stripping back all pipework to main branch or to a suitable point for
future connection; pipe out tee pieces where necessary; remove all
| redundant pipework ready to receive new pipework; complete | 1 | Item |  | 0
Removing Mechanical Services installations; include making good existing
structures; FLN Mechanical Services Engineering drawings
B | heating and H&CW services as identitified; including isolating existing
supply, freezing as necessary, removing redundant pipework, ductwork,
| outlets, fittings, etc. | 1 | Item |  | 0
Removing Electrical Services installations; include making good existing
structures; FLN Mechanical Services Engineering drawings
C | electrical installations as identified; including isolating existing supply,
removing redundant cabling, containment, fittings, outlets, conduit,
| etc | 1 | Item |  | 0
D | fire detection and alarm installations as identified ; including isolating
existing supplies, removing redundant cabling, containment,
| outlets, fittings, etc | 1 | Item |  | 0
E | lighting installations as identified; including isolating existing supply,
| removing redundant cabling, containment, fittings, outlets, etc. | 1 | Item |  | 0
F | telecommunication installations as identified; including isolating
existing supplies, removing redundant cabling, containment,
| outlets, fittings, etc | 1 | Item |  | 0
Demolishing parts of structures; including making good adjacent fabric
and finishes; Drawings AL(--)Ex01 & AY7968/01; Externally
G | breaking out concrete entrance platt and steps; including grubbing up
foundations; approx size 1200 x 1000 x 300 above GL; hand
excavation/breaking out as necessary adjacent existing building and
around waste and rainwater pipework; working space, earthwork support;
levelling and compacting surface of excavation etc.; disposal of
| surplus excavated materials;complete | 1 | Item |  | 0
R036 New Kitchen; as Drawing AL(--)001
Removing Coverings; including making good structures
H | carefully remove existing floor covering (vinyl removal elsewhere); 9mm
plywood on 22mm t&g softwood boards; to extent as required to provide
access to solum for installation of the stanchions and bases for the
Roller Shutter framing; frame out as necessary, supply and fit new
softwood flooring and ply boarding to level required for flush finish for
| vinyl flooring; 2nr openings | 1 | Item |  | 0
|  |  |  | To Collection | 0
Minor Demolition and Alteration Works
| Page Nr. 3/2 |  |  |  | 0
| Page Nr. 3/3 |  |  |  | 480
| Page Nr. 3/4 |  |  |  | 0
|  |  |  | To SUMMARY | 480
Roof
C EXISTING SITE / BUILDINGS / SERVICES
C90 ALTERATIONS - SPOT ITEMS
Various locations on site; as Drawings AL(--)001/A, AY/7968/01&03
Cutting openings or recesses; making good structures; extending and making good finishes
A | from opening in existing roof structure; approx 450 x 450; removing
existing slates as required; cutting back sarking and battening; framing
out as required; supply and install roof vent and all supports; supply
and fit soaker; fixed to existing roof; all in accordance with
| manufacturers recommendations; complete | 1 | Item |  | 0
B | e/o final interconnection spur outlet to fan | 1 | Item |  | 0
C | from opening in existing roof structure; approx 300 x 300; removing
existing slates as required; cutting back sarking and battening; framing
out as required; for installation of svp and soaker; supply
and fit soaker; fixed to existing roof; all in accordance with
| manufacturers recommendations; complete | 1 | Item |  | 0
|  |  |  | To SUMMARY | 0
Internal Walls and Partitions
K LININGS / SHEATHING / DRY PARTITIONING
K10 PLASTERBOARD DRY LININGS / PARTITIONS / CEILINGS
Proprietary partitions; British Gypsum 92mm gypframe S metal stud
partition system as Drawings Nrs AL(--)001 & 002,& AY 7968/01/02&03;
studs at max 400 centres, dwangs at recommended centres vertically;
head/base tracks, fixing to existing timbers as detailed;
insulation, vapour barriers, timbers; 1 layer 12.5mm plywood sheathing &
1 layer 15mm Duraline full height each side; including all additional
works/materials to from angles, finished ends etc. sealing ends and like;
complete
Proprietary partitions; boarded both sides; to sloping and level soffit
A | 4.25 to 5.45 high; Dining/Servery & Staff Change; approx 5.80m long | 1 | Item |  | 0
B | e/o forming opening; additional stud sections, dwangs etc as required;
working round and fixings to goalpost steelwork; Servery
| opening;complete | 1 | Item |  | 0
C | 5.45 high; Dervery/Staff Change; 1.80m long | 1 | Item |  | 0
D | 4.25 to 5.45 high; Staff Change/Servery / Office/Cook Bay; 1.50m long | 1 | Item |  | 0
E | 5.45 high; Office/Cook Bay; 2 nr, each 1.10m long | 1 | Item |  | 0
F | 4.25 to 5.45 high; Staff Change/Servery / Office/Cook Bay; 1.50m long | 1 | Item |  | 0
G | 4.25 to 5.45 high above FGL, from 2.50 from FFL to sxisting ceiling level; Office/Cook Bay; 3.90m long | 1 | Item |  | 0
e/o additional stud sections, dwangs etc as required to form partitions
| over Office/Cook bay; | 1 | Item |  | 0
H | e/o all partitions; froming internal/external angels etc to complete the | 1 | Item |  | 0
installation
Extra over proprietary partitions; boarded both sides; alterations to
existing structure and finishes and making good as required
G | Cutting out existing plaster/lath&plaster/plasterboard ceiling; insert
branders between existing roof trusses, 400 centre (drg AL(--)002; to
provide top fixing for partitions; reinstate ceiling finish to match existing
| on completion; approx 18m sloping and horizontal | 1 | Item |  | 0
Plywood backing pads to services: Provisional
H | e/o all partitions; 18mm plywood backing panels; approx size
| 1000 x 500; fixing between studs | 5 | nr |  | 0
|  |  |  | To Collection | 0
Plaster on the hard; to tie in with flush with existing approx depth 13mm;
base and finishing coats; to existing and new masonry base;
Nr AL(--)005;
A | 13 work to walls on brickwork or blockwork base; in repairs; one coat
bonding agent to existing brickwork; 2.00m high, existing corridor at new
| staff change door | 1 | Item |  | 0
|  |  |  | To Collection | 0
Internal Walls and Partitions
| Page Nr. 3/7 |  |  |  | 0
| Page Nr. 3/8 |  |  |  | 0
|  |  |  | To SUMMARY | 0
Internal Doors
L WINDOWS / DOORS / STAIRS
L20 DOORS / SHUTTERS / HATCHES
Flush doorsets; Drawing S(31)001
Interior quality; FD30; including frames, sub-frames, stops, lippings,
packers, facings, glazed vision panels and beading (where applicable), hinges, fire
hinges and smoke seals, and the like; complete as detailed on the
drawing/door schedule
A | 926 x 2040; type D01; 1 Nr | 1 | Item |  | 0
B | 926 x 2040; type D02; 1 Nr | 1 | Item |  | 0
C | 926 x 2040; type D03; 1 Nr | 1 | Item |  | 0
D | 926 x 2040; type D04; 1 Nr | 1 | Item |  | 0
P BUILDING FABRIC SUNDRIES
P21 DOORS / WINDOW IRONMONGERY
ironmongery schedule; Drawing S(31)001
04/10/2018; NBS P21/TBC
Ironmongery; sets complete; supply and fix (Not SMM7)
E | ironmongery set; to door type D01; 1 Nr | 1 | Item |  | 0
F | ironmongery set; to door type D02; 1 Nr | 1 | Item |  | 0
G | ironmongery set; to door type D03; 1 Nr | 1 | Item |  | 0
H | ironmongery set; to door type D04; 1 Nr | 1 | Item |  | 0
Roller Shutter; Drawing series AL(--)
Supply and fix to steel poalpost; roller shutter, guides, locks etc., as as
sepcification; complete
J | 2850 wide x 3400 high; 1 Nr | 1 | Item |  | 0
|  |  |  | To SUMMARY | 0
Wall Finishes
G STRUCTURAL / CARCASSING METAL / TIMBER
G20 CARPENTRY / TIMBER FRAMING / FIRST FIXING
Softwood cladding on 45 x 38 softwoodbattens, 400 centres each way; as
Drawings AA(--)002 & 005
Room R035, DINING
A | fixed to existing masonry wall; to match existing; fair flush joint to
| existing; 2nr walls; 1300 high, approx 4 total length | 1 | Item |  | 0
B | fixed to new stud partition; to match existing; fair flush joint to
| existing; 1nr walls; 1300 high, approx 2.80m total length | 1 | Item |  | 0
Selkie boarding; fixed in accordance with manufacturers instructions;
all formed joints, internal angles etc.; Drawings AA(--)002 & 005
Room R036, KITCHEN
C | to all areas of Kitchen/Office as detailed on drawings; to existing timber
| lining; 2.00m high all round; complete | 1 | Item |  | 0
D | extra over for forming selkie over cills into base of windows | 1 | Item |  | 0
E | extra over for forming selkie into window jambs & mullions to 2.00m | 1 | Item |  | 0
above FGL
F | to all areas of Kitchen/Office/Servery/Store as detailed on drawings; to
| new plasterboard finishes 2.00m high all round; complete | 1 | Item |  | 0
G | to all areas of Staff Change as detailed on drawings; to
| new plasterboard finishes 2.00m high all round; complete | 1 | Item |  | 0
Stainless Steel splashback; all formed joints, internal angles etc.
COOKING BAY
H | Stainless Steel splashback; to new plasterboard walls; 2.00m high all | 1 | Item |  | 0
round; complete
|  |  |  | To SUMMARY | 0
Floor Finishes
M SURFACE FINISHES; Drawings AL(--)004&005
M10 CEMENT: SAND / CONCRETE SCREEDS / TOPPINGS
Latex levelling self screed; Provisional
Floors
A | 3 thick - level or to falls only not exceeding 15 degrees from
| horizontal; one coat to existing plywood; 97m2 | 1 | item |  | 0
M50 RUBBER / PLASTIC / CORK / LINO / CARPET TILING / SHEETING
Vinyl flooring; Gerflor Taralay Impression Comfort; ~Wood effect, 0520
'NOMA' Black
Floors
B | over 300 wide; level or to fall; 56m2 | 1 | item |  | 0
Skirtings
C | 1/4 round softwood infill piece to match existing; approx 30m | 1 | item |  | 0
Vinyl flooring; 'ULTRA' slip resistant flooring; colour TBC , from standard
range
Floors
D | over 300 wide; level or to fall; 41m2 | 1 | item |  | 0
E | extra over for dressing to floor gullies; 4 nr | 1 | item |  | 0
Skirtings
F | 100 high; on cove former Gerflor; from vinyl over cove fromer; pvc
| capping piece fixed to masonry wall; approx 43m | 1 | item |  | 0
Accessories; dividing strips; NBS M50/740A
Dividing strips; satin chrome finish
G | Gerflor; as detailed on drawing AL(--)004; to existing floor; vinyl to
| existing vinyl; 4nr lengths approx 1.00 each | 1 | item |  | 0
H | Gerflor; as detailed on drawing AL(--)004; to existing floor; vinyl to vinyl;
| approx 2.85 each | 1 | item |  | 0
|  |  |  | To SUMMARY | 0
Ceiling Finishes
K LININGS / SHEATHING / DRY PARTITIONING
K40 DEMOUNTABLE SUSPENDED CEILINGS
R036 New Kitchen; as Drawing AL(--)006 & 002
Rockfon; System T24 A/E ECR Ceiling System, suitable for humid and harsh
environments; Rockfon Hygenic A24 square edge tiles; 600 x 600 x 20 thick
tile; laying in position in interlocking grid with adjustable hangers,
channels,trims etc.; Tile layout as detailed on Drawing AL(--)006; complete
Ceilings; suspension obstructed by services; to existing structure timber
A | suspension; from existing sloping ceiling; average 2.25 deep; Office,
| approx 1.50m2 | 1 | Item |  | 0
B | suspension; from existing flat and sloping ceiling; generally 1.00 deep; | 1 | Item |  | 0
to zero at edges; Kitchen and Servery, approx 31m2
C | extra over; additional work from sloping section of existing roof | 1 | Item |  | 0
D | extra over; splayed section as detailed; Drg AL(--002 | 1 | Item |  | 0
R034/035 Dining Room & Staff Change; as Drawing AL(--)006 & 002
Saint Gobain; Ecophon 'GEDINA E' interlocking Connect T15 Ceiling Grid
System, square edge tiles; 600 x 600 x 20 thick tile; laying in position in
interlocking grid with adjustable hangers, channels, trims etc.; Tile layout
as detailed on Drawing AL(--)006; complete
Ceilings; suspension obstructed by services; to existing structure timber
E | suspension; from existing flat and sloping ceiling; generally 1.00 deep;
| to zero at edges; approx 55m2 | 1 | Item |  | 0
F | extra over; additional work from sloping section of existing roof | 1 | Item |  | 0
G | suspension; from existing flat and sloping ceiling; generally 2.50 deep; | 1 | Item |  | 0
Staff Change, approx 4m2
H | extra over; additional work from sloping section of existing roof | 1 | Item |  | 0
Plywood backing pads to services: Provisional
H | e/o all suspended ceilings; 18mm plywood backing panels; approx size
| 600 x 600; fixing between studs | 20 | nr |  | 0
|  |  |  | To SUMMARY | 0
Decoration
M SURFACE FINISHES
M60 PAINTING / CLEAR FINISHING
Existing and New, Wood/General surfaces; all as drawing AL(--)005
Room R036, KITCHEN
A | existing plaster wall surfaces above hygenic panelling; eggshell | 1 | Item |  | 0
B | new timber/ply door frame, facings etc (Kitchen and Corridor sides), ply
| pipe boxing; Class O gloss | 2 | Item |  | 0
STAFF CHANGE
C | new plasterboard walls; seal, emulsion | 1 | Item |  | 0
D | new timber door frame, facings etc. (Kitchen and Corridor sides); Class O | 1 | Item |  | 0
gloss
OFFICE
E | new plasterboard walls; seal, emulsion | 1 | Item |  | 0
F | existing plaster wall surfaces; emulsion | 1 | Item |  | 0
F | existing timber panelling; prepare; Class O gloss | 1 | Item |  | 0
EXISTING CORRIDOR
G | existing plaster wall surfaces; emulsion | 1 | Item |  | 0
Room R035, DINING
J | new and existing plaster/plasterboard wall surfaces; emulsion | 1 | Item |  | 0
K | new timber door frame, facings etc. (Kitchen and Corridor sides); Class O
| gloss | 1 | Item |  | 0
L | new timber wall lining; Class O gloss | 1 | Item |  | 0
M | existing timber wall lining; prepare; Class O gloss | 1 | Item |  | 0
|  |  |  | To SUMMARY | 0
Fittings, Furnishings and Equipment
N FURNITURE / EQUIPMENT
N10 GENERAL FIXTURES / FURNISHINGS / EQUIPMENT
Noticeboards; Wall mounted FlameShield Aluminium framed
Noticeboards; Fabric, hessian, colour from standard range; fire
resistance, fully compliant with Fire Retardant standard Class (0);
concealed wall fixings
Pinboards; Provisional Quantities
a | 1200 x 1500; 3nr | 1 | Item |  | 0
Proprietary Storage Units
Supply and fit in location, as Drawings AL(--)001; all ancillaries/accessories complete
b | lockable metal Janitors cupboard; 1780H x 1810 x 460D; 1 nr | 1 | Item |  | 0
Appliances; fix only; Provisional Quantities
client supplied items; fixing and all accessories; complete
c | soap dispensers; including fixing, battery supply (if applicable); 2nr | 1 | Item |  | 0
d | paper towel dispensers; including fixing; 2nr | 1 | Item |  | 0
Office desk and shelfing; Drawing AL(--)002
e | stainless steel shelving; section E-E | 1 | Item |  | 0
f | office desk; Section E-E | 1 | Item |  | 0
g | metal filing drawer units; 2 nr; Section E-E | 1 | Item |  | 0
|  |  |  | To SUMMARY | 0
Services Equipment
N FURNITURE / EQUIPMENT
N12 CATERING EQUIPMENT
Catering Equipment: Stephens Catering
Read in conjunction with drg no. RM19W1 Rev L
supply, fit and fix on site, including any final connections
to services and commissioning (services up to final connection
taken elsewhere); stainless steel finish; include all taps, wastes
& connectors, plugs, ironmongery and ancillary items etc. as required
A | Mechline WS4 wash hand basin; 1 Nr | 1 | Item |  | 0
B | SCE s/s 'dirties' dishwash tabling c/w inset bowl & bank of drawers; 1 Nr | 1 | Item |  | 0
C | Aquajet AJPR30 pre-rinse spray unit; 1 Nr | 1 | Item |  | 0
D | Mieko Upster H500 pass through dishwasher; 1 Nr | 1 | Item |  | 0
E | SCE s/s 'cleans' dishwash tabling c/w void for item 21; 1 Nr | 1 | Item |  | 0
F | SCE s/s wall bench; 1 Nr | 1 | Item |  | 0
G | SCE s/s double bowl sink unit; 1 Nr | 1 | Item |  | 0
H | SCE s/s wall shelves (1x 2100mm wide, 1x 1500mm wide & 1x 900mm
| wide); 1 Nr | 1 | Item |  | 0
J | Panasonic NE1856 microwave; 1 Nr | 1 | Item |  | 0
K | SCE s/s wall bench c/w cupboards under; 1 Nr | 1 | Item |  | 0
L | Falcon E3914i 4 ring induction range; 1 Nr | 1 | Item |  | 0
M | SCE s/s infill benches; 2 Nr | 1 | Item |  | 0
N | SCE s/s stand for 10 grid combination oven; 1 Nr | 1 | Item |  | 0
P | Falcon SAEB101R 10 grid combination oven; 1 Nr | 1 | Item |  | 0
Q | Airco s/s extraction canopy; width is 2250 x 1500mm depth;
106kg, supported from existing roof structure and at edges from stud
| system; all fixings to structure; 1 Nr; complete | 1 | Item |  | 0
R | SCE s/s centre benches; 2 Nr | 1 | Item |  | 0
S | Foster XR600L single door upright freezer; 1 Nr | 1 | Item |  | 0
|  |  |  | To Collection | 0
Catering Equipment: Stephens Catering; cont'd
A | Foster XR600H single door upright fridges; 2 Nr | 1 | Item |  | 0
B | Moffat HC3E hotcupboard, c/w fold down tray slide; 1 Nr | 1 | Item |  | 0
C | Staff Lockers; 4 Nr | 1 | Item |  | 0
D | Washing machine; 1 Nr | 1 | Item |  | 0
E | Moffat s/s counter c/w flap & gate; 1 Nr | 1 | Item |  | 0
F | SCE s/s wall bench c/w bank of drawers & cupboards under; 1 Nr | 1 | Item |  | 0
|  |  |  | To Collection | 0
Services Equipment
| Page Nr. 3/16 |  |  |  | 0
| Page Nr. 3/17 |  |  |  | 0
|  |  |  | To SUMMARY | 0
Disposal Installations
R11: FOUL DRAINAGE ABOVE GROUND: Provisional
uPVC pipes and fittings; soil and waste pipework complete with all fixings,
fittings and connections in accordance with the relevant standards
A | 40 diameter pipes; straight; joints in the running length; in or on
| supports; in 6 lengths; 6 m | 1 | Item |  | 0
B | extra; 90 degree bends; 6 nr | 1 | Item |  | 0
C | extra; reducing branch; 6 nr | 1 | Item |  | 0
D | extra; sink, whb, dishwasher etc., connectors; 6 nr | 1 | Item |  | 0
E | 110 diameter pipes; straight, to falls; joints in the running length; in or on
| supports suspended below existing joisted floor ; in 6 lengths; 21 m | 1 | Item |  | 0
F | extra; floor gulley; supply, fit and set level in with vinyl flooring to ply
and softwood t&g flooring; all additional framing and fixings as
| required; 4 nr | 1 | Item |  | 0
G | extra; connection pipe to gulley; 10nr | 1 | Item |  | 0
H | extra; connection to svp; 1 nr | 1 | Item |  | 0
J | 110 diameter pipes; straight, vertical; joints in the running length; in
| or on supports to existing masonry; in 1 length; approx 5m | 1 | Item |  | 0
K | extra; connection to below ground drainage; 1 nr | 1 | Item |  | 0
L | extra; access/inspection pieces; 1nr | 1 | Item |  | 0
M | extra; roof vent terminals; 1nr | 1 | Item |  | 0
N | extra; soaker piece 610 x 647; to suit 110 diameter pipe; 1nr | 1 | Item |  | 0
P | extra; bird guard; 1nr | 1 | Item |  | 0
|  |  |  | To SUMMARY | 0
EXTERNAL WORKS
Roads, Paths, Pavings etc.
COMPOSITE ITEMS
Hard Landscaping; Surfacing; Provisional
Excavate to reduce level; break out existing asphalt surfacing; working
space, earthwork support, disposal, filling, compact base of excavation,
compact filling etc
Asphalt surfacing and type 1 filling to form level fall away from building;
neat joint adjacent structure; cutting and fair sealed joint to existing
asphalt; complete
A | approximately depth overall 150mm; approximate area 46m2 | 1 | Item |  | 0
B | extra over; supply and lay, corduroy tactile paving withing ashpalt
| surfacing; area 800 wide x 1805 long at base of steps | 1 | Item |  | 0
Hard Landscaping; New Ramp/Step/Landing Access to EY Centre; All as
Drawings AL(--)001 and AY7968/05-08; complete
Excavate to reduce level, pits, trenches etc.; working space, earthwork
support, disposal, filling, compact base of excavation, compact filling etc;
concrete foundation, mesh reinforcement; concrete pits, forming pockets
for posts; formwork; type 1 fill; sand blinding; compacting surfaces Type 1
& sand; engineering brickwork, Ancon ST 1 Ties; 600x600 grey paving slabs,
50mm whin blinding below; corduroy tactile paving; paving slabs and
engineering brick to form steps; dpm adjacent existing building
forming new Entrance Ramp/Steps and Platt as detailed; movement
joints; complete
A | approximately overall dimension, 7.50 x 3.70 to plan as detailed on
| drawings; rise from FGL to +320 to step and ramp gradients as detailed | 1 | Item |  | 0
C | extra over; supply and fix proprietary vent extension and all ancillaries
| as detailed on Drgs AL(--)001, fixing as drgs AY79689/05-08; complete | 1 | Item |  | 0
C | extra over; supply and fix, painted MS Balustrade; as detailed on Drg
AL(--)001, fixing as drgs AY79689/05-08; adjacent building; sloping and
| horizontal; approx 6.00m long, 1nr bend on plan; complete | 1 | Item |  | 0
C | extra over; supply and fix, painted MS Balustrade; as detailed on Drg
AL(--)001, fixing as drgs AY79689/05-08; to outer edge of ramp/platt and
steps; sloping and horisontal; approx 10.50m long, 2nr bends on plan;
| complete | 1 | Item |  | 0
C | extra over; protection of all existing drainage in vacinity of the works;
| forming ramp round drainage pop-ups, new and existing | 1 | Item |  | 0
|  |  |  | To Collection | 0
External Drainage
Drainage below ground; all as
Drawings AL(--)001 and AY7968/10-12; complete
Excavating trenches for and installing ACO drainage channel; working
space, earthwork support, disposal, filling, compact base of excavation,
compact filling, concete foundation and haunching etc
Aco Channel; sump; heelguard grating; ends; ancillaries etc
A | approximately; 2 nr lengths; overall length 4.00mm | 1 | Item |  | 0
B | extra over; outlets and connection to drainage; 2 nr; complete | 1 | Item |  | 0
Excavating trenches to receive pipes not exceeding 200 nominal size;
disposing of surplus excavated material by removing off site
Commencing from existing ground level; backfilling above bed and
surround with selected Type 1 imported fill in layers maximum 300 thick
B | pipe 150 nominal size, wavin pastics upvc; average depth 1000 - 1250;
| in 3nr lengths; overall length approx 4.00m | 1 | Item |  | 0
C | extra over; search for and locate existing live drainage line; break into
and insert branch; ensure continuity of existing drainage;
| 2 nr connections; complete | 1 | Item |  | 0
D | extra over; search for and locate existing live Manhole; break into
and insert rocker pipe and branch; ensure continuity of existing;
| drainage; 1 nr connections; complete | 1 | Item |  | 0
E | extra over; from hole in existing 750mm thick external masonry
wall; excavating pit as required to access; break out asphalt; backfill,
Type 1 to underside of and renew asphalt finish; cutting and fair
| sealed joint to existing asphalt; complete | 1 | Item |  | 0
F | extra over; breaking out existing asphalt surfacing and type 1 filling;
reinstatement asphalt surfacing n completion of drainage line; to
form level fall away from building; cutting and fair sealed joint to
| existing asphalt; complete | 1 | Item |  | 0
|  |  |  | To Collection | 0
Builderswork in Connection with Services (BWICS)
P BUILDING FABRIC SUNDRIES
P31 HOLES / CHASES / COVERS / SUPPORTS FOR SERVICES
General builders work; pipe boxing; notwithstanding the requirements of
SMM7 pipe boxing is measured as a composite item stating girth
Pipe boxing; including all additional supports, bracing, framing, internal
and external angle beads, finishing and all labours, insulation and the like
A | approximately 300 x 300 x 3750 high; with access
| hatches; as Drawing AL(11)001; to R036 Kitchen | 1 | Item |  | 0
B | approximately 300 x 200; horizontal, non fire rated; Provisional | 5 | m |  | 0
C | approximately 300 x 200; vertical, non fire rated; Provisional | 5 | m |  | 0
D | e/o; access panels; proprietary; including all additional framing, | 2 | nr |  | 0
ironmongery etc; 450 x 450
E | e/o; end panels 300 x 200 | 4 | nr |  | 0
General builders work; not SMM7
Allow for all builderswork in connection; including marking holes,
cutting or forming holes, mortices, sinkings, chases raggling through
brick, block and masonry surfaces, providing pipe sleeves, sealing
around pipe sleeves with fire-retardant intumescent material, and
for the application of identification markers as necessary
F | complete for full project | 1 | Item |  | 0
|  |  |  | To Collection | 0
EXTERNAL WORKS
| Page Nr. 3/20 |  |  |  | 0
| Page Nr. 3/21 |  |  |  | 0
| Page Nr. 3/22 |  |  |  | 0
|  |  |  | To Summary | 0
A PRELIMINARIES
A54 PROVISIONAL SUMS
Include the following defined Provisional sums
For defined works
A | additional structural works | 1 | Item | 750 | 750
B | add Main Contractors Overheads and Profit | % |  |  | 0
C | concrete/leveling screed to make-up floor levels | 1 | Item | 500 | 500
D | add Main Contractors Overheads and Profit | % |  |  | 0
E | removal of additional asbestos | 1 | Item | 500 | 500
F | add Main Contractors Overheads and Profit | % |  |  | 0
G | additional repairs to existing walls | 1 | Item | 500 | 500
H | add Main Contractors Overheads and Profit | % |  |  | 0
J | replacement of existing blinds | 1 | Item | 300 | 300
K | add Main Contractors Overheads and Profit | % |  |  | 0
L | additional heating pipework route alterations | 1 | Item | 750 | 750
M | add Main Contractors Overheads and Profit | % |  |  | 0
N | additional repairs to existing entrance ramp & platt | 1 | Item | 250 | 250
P | add Main Contractors Overheads and Profit | % |  |  | 0
N | for Mechanical Services Installation | 1 | Item | 6000 | 6000
P | add Main Contractors Overheads and Profit | % |  |  | 0
N | for Electrical Services Installation | 1 | Item | 8000 | 8000
P | add Main Contractors Overheads and Profit | % |  |  | 0
Include the following undefined Provisional sums
For undefined works
Q | rot remedial works | 1 | Item | 250 | 250
R | add Main Contractors Overheads and Profit | % |  |  | 0
|  |  |  | To Collection | 17800
A55 DAYWORKS
Include the following Provisional sums
For building works, provide the following sums for work or costs
which cannot be entirely foreseen, defined or detailed and for which
the valuation shall be made in accordance with the "Definition of
Prime Cost of Dayworks carried out under a Building Contract" (Third
Edition) published by the Royal Institution of Chartered Surveyors and
the Construction Federation
K | option A for labour; building operatives as defined in
| Section 3 | 1 | item | 500 | 500
L | add for incidental costs, overheads and profit | % |  |  | 0
M | prime cost of materials as defined in Section 4 | 1 | Item | 100 | 100
N | add for incidental costs, overheads and profit | % |  |  | 0
A | prime cost of plant (hired or owned) in accordance with the
Schedule of Basic Plant Charges published by the Royal Institute
| of Chartered Surveyors (Latest Edition) all as defined in Section 5 | 1 | Item | 50 | 50
B | add for incidental costs, overheads and profit | % |  |  | 0
For electrical works, provide the following sums for work or costs
which cannot be entirely foreseen, defined or detailed and for which
the valuation shall be made in accordance with the "Definition of
Prime Cost of Dayworks carried out under an Electrical Contract"
(Third Edition) published by the Royal Institution of Chartered
Surveyors and SELECT
C | option A for labour; electrical operatives as defined in
| Section 3 | 1 | Item | 500 | 500
D | add for incidental costs, overheads and profit | % |  |  | 0
E | prime cost of materials as defined in Section 4 | 1 | Item | 100 | 100
F | add for incidental costs, overheads and profit | % |  |  | 0
G | prime cost of plant (hired or owned) in accordance with the
Schedule of Basic Plant Charges published by the Royal Institute
| of Chartered Surveyors (Latest Edition) all as defined in Section 5 | 1 | Item | 50 | 50
H | add for incidental costs, overheads and profit | % |  |  | 0
|  |  |  | To Collection | 1300
For heating and ventilating work, provide the following sums for
work or costs which cannot be entirely foreseen, defined or detailed
and for which the valuation shall be made in accordance with the
"Definition of Prime Cost of Dayworks carried out under a Heating,
Ventilating, Air Conditioning, Refrigeration, Pipework and/or
Domestic Engineering Contract" (Third Edition) published by the
Royal Institution of Chartered Surveyors and the Building and
Engineering Services Association
J | option A for labour; heating and ventilating operatives as
| defined in Section 3 | 1 | Item | 250 | 250
K | add for incidental costs, overheads and profit | % |  |  | 0
A | prime cost of materials as defined in Section 4 | 1 | Item | 150 | 150
B | add for incidental costs, overheads and profit | % |  |  | 0
C | prime cost of plant (hired or owned) in accordance with the
Schedule of Basic Plant Charges published by the Royal Institute
| of Chartered Surveyors (Latest Edition) all as defined in Section 5 | 1 | Item | 50 | 50
H | add for incidental costs, overheads and profit | % |  |  | 0
For plumbing work, provide the following sums for work or costs
which cannot be entirely foreseen, defined or detailed and for which
the valuation shall be made in accordance with the "Definition of
Prime Cost of Dayworks Carried Out Under a Plumbing Contract"
(Third Edition) published by the Royal Institution of Chartered
Surveyors, the Association of Plumbing and Heating Contractors and
the Scottish and Northern Ireland Plumbing Employers'
Federation
E | option A for labour; plumbing operatives as defined in
| Section 3 | 1 | Item | 250 | 250
F | add for incidental costs, overheads and profit | % |  |  | 0
G | prime cost of materials as defined in Section 4 | 1 | Item | 100 | 100
H | add for incidental costs, overheads and profit | % |  |  | 0
J | prime cost of plant (hired or owned) in accordance with the
Schedule of Basic Plant Charges published by the Royal Institute
| of Chartered Surveyors (Latest Edition) all as defined in Section 5 | 1 | Item | 50 | 50
H | add for incidental costs, overheads and profit | % |  |  | 0
|  |  |  | To Collection | 850
Prime Cost and Provisional Sums
| Page Nr. 3/24 |  |  |  | 17800
| Page Nr. 3/25 |  |  |  | 1300
| Page Nr. 3/26 |  |  |  | 850
|  |  |  | To SUMMARY | 19950
PRELIMINARIES
| Preliminaries |  |  | Refer to Summary Page | 0
SUPERSTRUCTURE
| Minor Demolition and Alteration Works |  |  |  | 480
| Roof |  |  |  | 0
| Internal Walls and Partitions |  |  |  | 0
| Internal Doors |  |  |  | 0
INTERNAL FINISHES
| Wall Finishes |  |  |  | 0
| Floor Finishes |  |  |  | 0
| Ceiling Finishes |  |  |  | 0
| Decoration |  |  |  | 0
FITTINGS, FURNISHINGS AND EQUIPMENT
| Fittings, Furnishings and Equipment |  |  |  | 0
SERVICES EQUIPMENT
| Services Equipment |  |  |  | 0
| Disposal Installations |  |  |  | 0
EXTERNAL WORKS
| External Works |  |  |  | 0
PRIME COST AND PROVISIONAL SUMS
| Prime Cost and Provisional Sums |  |  |  | 19950
|  |  |  | To Main Summary | 20430