## Sheet1
[6 empty] | INR rate Supply | INR | INR rate installation | INR Amount Installation | FINAL AMOUNT
S.No. | ITEM DESCRIPTION | Qty | Unit | Size of head box |  |  | amount supply
|  |  |  | width | height
|  |  |  | mm | mm
Supply & installation testing and commissioning of Fire Curtains with Galvanised MS powder coated head top box of suitable size, Powder coated side guides (100mm x 50 mm) and bottom bars with DC motors one per roller for curtain up operation with standard battery back-up fixed into 76/100 mm steel rollers with fabric with its control panel and all installation assemblies & accessories required to complete the installation. The operation shall be suitable for dedicated 230 volts UPS, 50 Hz AC supply. Complete system tested for minimum 120 minutes integrity & tested at 1000°C. The manufacturer’s valid certification for oversized fire curtains from testing authorities covering the sizes of offered fire curtains as per BOQ, should be available. Each Fire Curtain shall have independent control Panel suitable for 230V AC supply, provision to integrate with Fire signal, and battery back up. The emergency retract switch shall be provided on both sides of curtain. The Fire curtain shall
reset automatically when fire control panel is reset.
1.1 | Width (1770 mm) x Height (4000 mm) | 2 | Nos |  |  | 118000 | 236000 | 10000 | 20000 | 256000
1.2 | Width (2000 mm) x Height (4000 mm) | 1 | Nos |  |  | 134625 | 134625 | 10000 | 10000 | 144625
1.3 | Width (1500 mm) x Height (4000 mm) | 1 | Nos |  |  | 118000 | 118000 | 10000 | 10000 | 128000
1.4 | Width (1710 mm) x Height (4000 mm) | 1 | Nos |  |  | 118000 | 118000 | 10000 | 10000 | 128000
1.5 | Width (1680 mm) x Height (4000 mm) | 1 | Nos |  |  | 118000 | 118000 | 10000 | 10000 | 128000
1.6 | Width (2190 mm) x Height (4000 mm) | 1 | Nos |  |  | 134625 | 134625 | 10000 | 10000 | 144625
2 | Control Panel | 7 | Nos |  |  | 40000 |  |  | 280000 | 280000
3 | Manual push button | 14 | Nos |  |  | 1000 |  |  | 14000 | 14000
4 | Sounder cum strobe | 14 | Nos |  |  | 3000 |  |  | 42000 | 42000
5
| TOTAL PRICE | [8 empty] | 1265250
| TOTAL INCLUDING GST | [8 empty] | 227745
| GRAND TOTAL | [8 empty] | 1492995
Terms & Conditions:
1.Payment Term: 50 % Advance againest PO and 50% before material dispatching
2. Delivery within 4-5weeks from date of release of purchase order approved drawing and advance payment.
3.Scaffolding support to hang the curtain will be provided by the client
4.However any civil work/civil modification location to install the curtain to be done by client
5.Installation is also included in the above price
6.Power supply for installation to be provided by client
7. All goods will remain the property of WindowTechs until paid for in full. We reserve the right to remove any units fitted by ourselves or others until full payment is received.
8.This quote is valid for 60 days only
9. As per Section 16 of the MSME Act, the buyer is liable to pay interest with the monthly rests to the supplier in case of non-payment or delayed payment. The interest is compounded at the rate of 24%.
Regards,
For Window Techs India Pvt.Ltd
Alistair Paiva